The Report should include:

- Processing steps

- IV-measurement

1. I-V graph

2. Why it is important with a low 	leakage current?

- Particle measurement with alfa-source

  - Draw graphs from measured data

  - Identify energy of alfa peaks

  - What is the energy/channel?

- X-ray measurement

  - Compare measured current with predicted current by estimation using dose-rate (see dosrate.htm)

X-Ray measurement!

Dose 2mGy

Time 1.6s

Dose-rate=Dose/Time

Detector size= 4x4x0.525 (mm)